## Slide 1: Intelligent Buildings Council (IBC)
Chair: Trevor Nightingale (National Research Council)
Vice-Chair: Harsha Chandrashekar (Honeywell International Inc)
Vice-Chair: Robert Lane (Robert H. Lane and Associates Inc.)
Vice-Chair: Bob Allan (The Siemon Company)
Vice-Chair: Terrence DeFranco (Iota Communications, Inc.)

## Slide 2: 1. Agenda Greg Walker (CABA)
1. Agenda
2. Call to Order, Welcome, Introductions, about IBC
3. Administrative
“Cybersecurity and Intelligent Buildings” (30 minutes)
Larry O’Brien (ARC Advisory Group)
5. Research Update
6. White Paper Sub-Committee Update
7. New Business
8. Announcements
9. Adjournment

## Slide 3: 2. Call to Order, Welcome, Introductions, About the IBC Trevor Nightingale (National Research Council)
The CABA Intelligent Buildings Council works to strengthen the large building automation industry through innovative technology-driven research projects. The Council was established in 2001 by CABA to specifically review opportunities, take strategic action and monitor initiatives that relate to integrated systems and automation in the large building sector. The Council's projects promote the next generation of intelligent building technologies and incorporates a holistic approach that optimizes building performance and savings.
www.caba.org/ibc
IBC Chair
Trevor Nightingale
Director General
National Research Council
IBC Vice-Chair
Bob Allan
Global Business Development Manager, Intelligent Buildings
The Siemon Company
IBC Vice-Chair
Robert Lane
President & Managing Partner
Robert H. Lane and Associates Inc.
IBC Vice-Chair
Harsha Chandrashekar
Product Approvals & Regulatory Leader
Honeywell International
Inc
IBC Vice-Chair
Terrence DeFranco
President and Chief Financial Officer
Iota Communications, Inc.

## Slide 4: 3. Administrative Trevor Nightingale (National Research Council)
3.1 Motion to approve past IBC Minutes (Nov 25): www.caba.org/ibc

## Slide 5
“Cybersecurity and Intelligent Buildings” (30 min)
4. Keynote Harsha Chandrashekar (Honeywell International Inc)

## Slide 6: Intelligent Buildings and Cybersecurity

## Slide 7: Speaker
Larry O’Brien
VP of Research – ARC Advisory Group
Member of Cybersecurity and smart Cities Team
Over 25 years of experience

## Slide 8: ARC Research on Cybersecurity and Smart Buildings
Quantitative and qualitative research for end users-owner/operators and suppliers
Cybersecurity for OT/ICS environments
Building Automation
Smart Cities (transportation, lighting, smart city platforms, etc.)

## Slide 9: Primary End User Challenges in Cybersecurity for Smart Cities & Buildings
Cybersecurity for Smart Cities
Processes
Technology
People

## Slide 10: Economic Impact of Cyber Attacks in Cities and Communities: Recent Ransomware Attacks
Florida – Lakeland City, small town of 12,000 residents, $460K ransom
Atlanta – More than $17 million?
Texas – 22 Mostly rural communities: cost undisclosed
Not just a big city problem, smaller and rural communities are particularly vulnerable.
A ransomware attack may put a major dent in a city’s budget, but it can completely paralyze and bankrupt a small town.
Better funding is needed for municipalities and better coordination at a state level for resources, including training.

## Slide 11: IT/OT Convergence: OT Level Cybersecurity Threats
In simple terms, OT is the domain of systems and sensors that control the things that act in the physical world.
In addition to the built environment, smart city OT domains include power distribution networks, microgrids, gas pipelines, water distribution networks, security cameras, and so on.
OT systems have the potential to provide extreme efficiency in the applications they control or to wreak extreme havoc.
The new generation of cyber-attacks, many of which appear to be sponsored by nation states with almost unlimited resources, are sophisticated multistage attacks designed to gain control over OT systems and cause disruption, chaos, and potential loss of human life

## Slide 12: The Evolving Threat Landscape
Ransomware gets headlines and can cripple communities
Threats go beyond simple ransomware
New age of threats focuses specifically on operations and aims to impact equipment in the physical world
Recent ARC Survey Showing End User Concern with Different Kinds of Attacks

## Slide 13: What Future Cyber-attacks on Smart Cities will Look Like
Modular Structure of CRASHOVERRIDE Malware Reveals New Level of Sophistication in Targeted Infrastructure Malware (Source: Dragos)

## Slide 14: Lockheed Martin Cyber Kill Chain Framework Documents the Stages of a Cyber Attack (Source: Lockheed Martin)
Ransomware is like throwing rocks.
Coordinated OT level attacks are like an organized military operation.
Target hack through HVAC contractor followed similar methodology.

## Slide 15: TRITON Changed the Game
Hydrocarbon Processing Plant in the Middle East
Multi-phased, and prolonged cyber-attack that resulted in a safe plant shutdown in August of 2017
Breach was enabled through multiple security lapses
Deny the ability of the plant or process to shut down safely
Within Stage 2 of the ICS Cyber Kill Chain, TRISIS/TRICON Can Be Viewed as a Supporting Attack (Source: SANS Institute)

## Slide 16: Impact of IoT and Edge Technologies on Cybersecurity
IoT is really a catch all term that encompasses a suite of new technologies being adopted by today’s smart cities and buildings.
Cloud computing (which includes multiple definitions), edge and fog computing, analytics, machine learning, AI, networking technologies (MQTT), wireless infrastructure, 5G – all are part of IoT suite of technologies.
These technologies are being driven into many new products at a rapid rate.
Not everyone understands or considers the cybersecurity implications of these technologies and how they find their way into products and applications.
IoT also means connected. Millions of sensors, controllers, and computing devices.
Many large end users and owner/operators are struggling with how to balance the innovation of IoT and the business value that it brings with the associated (and sometimes significant) risk to secure and dependable operations.
Cybersecurity should be part of your selection criteria for products, systems, and applications.

## Slide 17: For IoT, the Edge is Where the Rubber Meets the Road

## Slide 18: The Business Value of IoT: Building Automation Use Case
Rapid adoption of IoT-based systems with the promise of significantly reduced operational costs is driving rapid growth in the building and facility automation marketplace.
The major objectives of these systems are to improve occupant comfort, reduce energy consumption and total cost of ownership, operate building systems efficiently, and increase the lifecycle of utilities.
Digitizing these systems presents a huge opportunity to reduce energy and operational costs for building or facility owner-operators.
Commercial buildings consume over 70 percent of the electricity produced in the US.
Many buildings are older and incorporate dated legacy technology and could significantly benefit from retrofitting the building control infrastructure to help reduce total cost of ownership and enhance security and safety.

## Slide 19: Zero Trust Cybersecurity Schemes and IoT
Security remains one of the leading inhibitors to widespread adoption of Industrial IoT applications.
Zero trust security, where the hardware doesn’t trust the software and vice versa, is emerging as the baseline for edge implementations.
End-to-end secure encrypted network designs are necessary.
The migration toward using Linux and other standard operating systems coincides with a migration away from secure by configuration, which relies on implementation, to a secure by design emphasis that enables more standardized approaches.

## Slide 20: IoT, Connectivity, and Managed Services
IoT has created a new wave of remote monitoring, managed service providers, and millions of new remote connections for things like performance monitoring, predictive maintenance, etc.
Exploiting security flaws at trusted third parties is often used as a tactic to gain entry into end user owner/operator sites.
Target hack is an example of this. Remote monitoring of HVAC systems.
TRITON also used this technique, harvesting credentials for control system access from a third party.

## Slide 21: Organizations Need Integrated Cybersecurity Strategies Siloed Programs Can’t Address All of the Issues
Control Systems
IT Systems
IIoT
IoT
OT
Systems
Devices
IT
IIoT Environment & Cloud
ICS
IoT and IIoT
IT
Today
Tomorrow
Control Systems
IT Systems
IIoT
IoT
OT
Systems
Devices
IT
IIoT Environment & Cloud
ICS-IT-IIoT
Notes: Now let me summarize all of this by referring to what we have been telling our industrial clients about the changes they need to consider in their cybersecurity programs.
Today, most of these companies are managing their cyber assets with individual, siloed cybersecurity programs
  ICS cybersecurity is responsible for the plant and SCADA control systems.
  IT cybersecurity is responsible for enterprise systems, cloud interfaces, and IoT devices like cameras, etc.
  IIoT cybersecurity is just emerging and is generally defining their responsibilities to be secure devices.
Each of these programs makes their own decisions about strategies and technologies, based upon their limited responsibilities.
But, this will never work for the kinds of situations I just discussed. They require end-to-end security spanning of all of these elements.
Industrial companies are already struggling with ICS attacks through IT systems like email, and the broad connectivity of the IIoT will add to the challenges they face in identifying, isolating and remediating cyber compromises.
Unless they have an integrated strategy, they will never be able to support the new, innovative programs using IIoT.

## Slide 22: ARC Industrial Cybersecurity Maturity Model

## Slide 23: Key Standards and Industry Groups at the OT Level
ISA 62443
NIST Framework
ISO 27000
NERC CIP
DHS

## Slide 24: ISA/IEC 62443 Cybersecurity Standard
http://isa99.isa.org/ISA99%20Wiki/Home.aspx

## Slide 25: ISA Secure Certification
The ISA Security Compliance Institute (ISCI), a neutral, not-for-profit consortium manages the ISASecure certification process.
ISASecure certifications assess conformance to a subset of the IEC 62443 series.
ISA-Secure certifies commercial-off-the-shelf (COTS) products and product supplier development lifecycle practices, for conformance with applicable parts of the IEC 62443 series.
ISASecure has an initiative with CABA for certifying products for building control system (BCS) applications.

## Slide 26: ISA SSA Security Assessment Process

## Slide 27: NIST Cybersecurity Framework
The US Commerce Department’s National Institute of Standards and Technology (NIST) has received considerable recognition over the past few years for developing the Cybersecurity Framework (CSF), now widely used as the basis for establishing effective security management systems.

## Slide 28: CISA/US-CERT

## Slide 29: CSET Tool
The Cyber Security Evaluation Tool (CSET®) provides a systematic, disciplined, and repeatable approach for evaluating an organization’s security posture.
CSET is a desktop software tool that guides asset owners and operators through a step-by-step process to evaluate industrial control system (ICS) and information technology (IT) network security practices.
Users can evaluate their own cybersecurity stance using many recognized government and industry standards and recommendations.

## Slide 30: CSIA 2016 Assessment Report

## Slide 31: ISO 27000

## Slide 32: NERC CIP
NERC is committed to protecting the bulk power system against cybersecurity compromises that could lead to misoperation or instability. On November 22, 2013, FERC approved Version 5 of the critical infrastructure protection cybersecurity standards (CIP Version 5), which represent significant progress in mitigating cyber risks to the bulk power system.

## Slide 33: UL 2900 Series of Standards

## Slide 34: Developing Cybersecurity Policy & Expertise in Your Organization
Cybersecurity does not equal buying and installing products.
Having a good cybersecurity strategy does not have to involve huge investments in technology and training. A sound strategy and standard policies can provide significant benefits.
You Need A Good Response Plan: Ransomware provides a good example of the benefit of having sound cybersecurity policy and the need for a good response plan. Many owner-operators and city governments are completely caught off guard when they face a ransomware attack.
Industrial cybersecurity solutions have become increasingly sophisticated and can require a high level of cybersecurity expertise to configure and maintain. This will increase the importance of additional vendor support and training programs for the end user.
Look to SANS as an excellent source of training and certification for ICS and OT level specific cybersecurity certifications, CISSP, GCIA
ISA, DHS also offer training and resources

## Slide 35: Most Smart City Owner/Operators Don’t Have Formal, Written Cybersecurity Policies or Standards in Place
(Source: ICMA/UMBC 2016 Survey https://ebiquity.umbc.edu/_file_directory_/papers/881.pdf)

## Slide 36: How ARC Defines the ICS/OT Cybersecurity Landscape: Building Automation

## Slide 37: Scope of OT Level Systems in Smart Cities and Buildings is Broad

## Slide 38: OT Level Cybersecurity Suppliers
Next-generation firewalls (NGFW), industrial DPI firewalls, and products that provide secure unidirectional communications (unidirectional gateways and data diodes, which ensure secure one-way communication).
Products that actively block compromises to cyber assets within control systems. Technologies in this category include anti-malware software, application whitelisting, access control, and industrial deep packet inspection (DPI) firewalls.
Range of products for monitoring OT networks and endpoint assets. These products enhance system security through detection of latent compromises and attacks that have evaded network security and endpoint defenses
Security information about cyber assets, vulnerability alerts, patches, and firmware/software/hardware updates; launchpad and integration platform for a variety of security maintenance support modules

## Slide 39: Cybersecurity Supplier Classification in Building Automation

## Slide 40: What to Look for, What to Question
LOTS of suppliers. Many in the startup stages, with relatively small numbers of customers.
Will they be around in five years?
If they get acquired, will they still support you?
Alliances with OT level suppliers.
Do they understand the business?
Product certifications and standards testing.
Secure development processes

## Slide 41: Some Thoughts on Cybersecurity and the Selection Process
Many end users don’t have a good handle on the landscape of ICS cybersecurity solutions.
Many end users don’t have the right cybersecurity related criteria embedded into their ICS and OT asset selection process.
“Undocumented” systems and devices currently receive the least amount of attention when it comes to cybersecurity. These obscure systems can include boiler controls, compressor controls, etc.
Different stakeholders in the organization aren’t always involved.

## Slide 42: Elements of Success for Supplier Selection
Have a documentable, traceable, and fact-based selection process that proves how and why you made your decision
Bring key stakeholders together to make a consensus based decision
Have a basic understanding of the market and the leading suppliers
Make sure you have the right selection criteria
Prioritize/weight criteria, remember that everything is not of equal importance to everything else
The selection process doesn’t end with the selection. It transitions into a supplier relationship management process.

## Slide 43: Summary and Conclusions
If you don’t already have a cybersecurity program or plan in place at your organization, you should take simple steps to start developing one. This presentation should give you information on the key steps needed to get started and resources.
Attacks are only going to become more sophisticated and will increasingly target actions in the physical world through compromising complex control systems and OT infrastructure.
Technology churn is driving a lot of todays cybersecurity challenges. IoT technologies used in an OT level environment need to be carefully vetted for cybersecurity risks, secure by design principles, etc.
The smart city and smart building segment needs to adopt standards. ISA/IEC 62443 should seriously be considered as the standard of reference.
Cybersecurity must be driven into the overall supplier selection process for all OT level systems and products.
Consider development of standard cybersecurity policy and response plans in your organization.

## Slide 44: Resources
https://www.arcweb.com/consulting-services/cybersecurity-workshops
https://www.arcweb.com/blog/cybersecurity-viewpoints
https://www.isa.org/training-and-certifications/isa-certification/isa99iec-62443/isa99iec-62443-cybersecurity-certificate-programs/
https://www.nist.gov/topics/cybersecurity
https://www.dhs.gov/cisa/national-cybersecurity-communications-integration-center
https://www.sans.org/netwars/cybercity

## Slide 45: Thank You
Questions?
Larry O’Brien
https://www.linkedin.com/in/larry-o-brien-a02685/
lobrien@arcweb.com
@dcsanalyst
@smartcityvwpts

## Slide 46: 4. Keynote - Questions? Harsha Chandrashekar (Honeywell International Inc)

## Slide 47: 5. Research Update Trevor Nightingale (National Research Council)
www.caba.org/research
5.1 2019 IBC Landmark Research “Evidence for Building Retrofits that Improve Organizational Productivity (Phase 2)” (15 Funders)
Free Download of Phase 1: www.caba.org/productivity

## Slide 48: 5. Research Update Terrence DeFranco (Iota Communications, Inc.) (CABA)
5.2 2020 IBC Landmark Research “Intelligent Building Energy Management Systems”
Topics: Implementation, integration, real-time monitoring, zero net energy, battery storage, grid interactions, renewables, etc.

## Slide 49: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.1 Recently Completed: None
www.caba.org/WhitePapers

## Slide 50: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“Energy Metering and Power Quality Metering in North America”
ArcoLogix LLC
Asian Institute of Intelligent Buildings
Brainwave Research Corp.
CMG
Convergint Technologies
CopperTree Analytics Inc.
Current, powered by GE
Cyber Power Systems, Inc.
Domotz
Enercare Connections Inc.
EZ Meter Technologies
Honeywell International Inc.
Ken Wacks Associates
Public Works and Government Services Canada
Renesas Electronics America Inc.
Robert H Lane and Associates Inc.
Schneider Electric
Sustainable Resources Management
Triacta Power Solutions
Zinwave
www.caba.org/WhitePapers

## Slide 51: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“Multi-MHz Wireless Power Transfer and Its Commercial Applications”
Airfuel Alliance (Chair)
University of Michigan - Shanghai Jiao Tong University Joint Institute
Princeton University
www.caba.org/WhitePapers

## Slide 52: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“The Evolution of Integrating LiFi Technology into Smart Lighting and Control Systems for the Intelligent Building”
Wharton County Junior College (Chair)
Acuity Brands, Inc.
ArcoLogix LLC
Control4
National Electrical Manufacturers Association
Telecommunications Industry Association (TIA)
www.caba.org/WhitePapers

## Slide 53: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“The Ethics of AI and the IoT Connected Home and Intelligent Buildings”
ArcoLogix LLC
Enbridge Gas Inc.
George Brown College
Hydro One Networks Inc.
Ken Wacks Associates
Site 1001, Inc.
Sustainable Resources Management Inc.
Syska Hennessy Group, Inc.
Telecommunications Industry Association (TIA)
University of Toronto

## Slide 54: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
All proposals and previously completed IBC White Papers can be downloaded at:
www.caba.org/whitepapers

## Slide 55: 7. New Business Trevor Nightingale (National Research Council)
7.1 Other new IBC business?

## Slide 56: 7. New Business Andre Ristaino (ISA)
7.2 CBRE Building Technology Consultancy – Cyber Roundtable
Andre Ristaino
Managing Director, ISA
Director ISA Global Cybersecurity Alliance

## Slide 57
Global Facilities BMS Technology Certification Program
Discussion Document:
Proposal to Develop an Assessment and Conformance Program for Deployed Building Automation and Control Systems
National Electrical Manufacturer’s Association (NEMA)
International Society of Automation (ISA)
US Commercial Real Estate Services (CBRE)

## Slide 58: Agenda (Proposed – Yet to be Finalized)
0830-0900 Introductions & Purpose
0900-1000 Program Overview & Intent
1000-1030 Threat Assessment (DHS /DoD)
1030-1130 Collaborate on Program
1200-1300 Decide Next Steps & Timeline

## Slide 59: Building Management System (BMS) Defined
Physical security systems (cameras, entry logs, cipher locks)
Physical movement systems (elevators, escalators)
HVAC
Electrical (power distribution, UPS, backup power, clean power)
Water/Wastewater
Fire Control (life-safety)
Lighting (management, distribution, POE)
BMS control networking (wireless, LiFi, wired)
Proposed Program Excludes Traditional Business & IT Networks and Systems in Initial Phases

## Slide 60: Developing Program Expectations
Critical feedback sought to shape this initiative
  Is there a market need?
  Would the real estate market embrace this initiative?
  What are the risks?
  Would this initiative drive positive changes to policyholders and insurers? What other market impacts can be anticipated?
  What Federal, State, Local and Tribal considerations should be included in the standards?
    What is mandated? What is desirable?
  How to avoid the downside of the LEED program
Recommendations for development
  Gaging interest in partnering with your working group
  Establishment of an entity to run the program

## Slide 61
Interoperating Building Systems
Multiple Integrators (Vendors)
Open Communi-cations Protocols
Generic Risk Posed by BMS:
Minimal Staffing
Many paths to exploitation
Unchecked spread of malware
Live Pentest Research Finding:
If a third-party software is ‘visible’ as part of a
BMS integration system, it can be exploited
by researchers seeking to penetrate a BMS.
Examples: XSS, root access / Directory Re-writes,
Firmware over-writes, and privilege escalation enabling
researchers to gain full access to corporate IT networks.
Source: I Own Your Building (Management System), Applied Risk, November 2019
Specific Risk Posed by BMS:
All researched vendors had 12 or greater exposed systems
Some as high as 1000+

## Slide 63
This FICO-score-like rating measures an organization’s chance of experiencing a data breach, based on measurements tied to the company’s public-facing assets. Your score ques alerts for cyber or physical threats to supply chains, allowing intelligence to evaluate critical vendors. The lower your score, the higher your risk.
KEY RISK INDICATORS
WHAT IS YOUR
CYBER ‘RISK’ SCORE?
300
500
650
775
850
HIGH RISK
LOW RISK
720
UNCLASSIFIED
Health & hygiene of IT systems
Network infrastructure
Software & services

## Slide 64: Proposed Program Intent
A Standard program for facility owners to confirm the extent of cyber protection designed into BMS
  Possible marketing advantage
  Adaptive to the end user’s requirements
  Raise awareness for all facility occupants
Enhance the value of investments in BMS cyber protections
  Rewarded with a competitive advantage over less secure facilities
  Positive response from facility insurers
  Utilizes widely-accepted industry Standards
Accelerate the improvement of BMS cyber security for occupant safety
Guide a growing industry of third-party cyber protection firms
Start with commercial office buildings, follow on frameworks for healthcare, industrial, hospitality, academic, and residential facilities

## Slide 65: Scope of Proposed Program
An application specifically for BMS to enhance cybersecurity for operational technology and physical control systems – does not include IT currently
Addresses the entire value chain of building automation and control systems
Reviews and integrates multiple, existing international standards with industry best practices-promoting the use of a tiered security posture for the BMS selected by the end user based on the risk to a facility or operation
Confirmed via regular 3rd party control system enterprise and process evaluations
Program Addresses People, Processes & Technology

## Slide 66: BMS Cybersecurity Lifecycles
Product Supplier
  Discovers and mitigates risk
  Adheres to Federal regulations
  Evolves systems and/or components with risk landscape
System Integrator Service Provider
  Discovers and escalates risk for removal
  Adheres to Federal regulations and other compliance schema
  Provides more-secure automation
Asset Owner (Facility Owner)
  Deploys securely – confident!
  Cyber security management system awareness of risk landscape
  Operation and Maintenance
    Service provider partnership in CS management system
Product Supplier
  Secure by design
  Security development lifecycle
  Provides systems and/or components
System Integrator Service Provider
  Secure in development
  Risk-based system and component
  integration
  Provides an automation solution
Asset Owner (Facility Owner)
  Secure in deployment
  Cyber security management system
  Operation and maintenance
    Maintenance may be done
    by a service provider
1. Product Supplier
2. System Integrator
3. Asset Owner
Value-Added to
Lifecycles

## Slide 67: Program Targets
Incentivize the protection of BMS systems to reduce risk to/from:
Life, safety, health – protection of employees (physical and virtual)
Employee actions
Adheres to Federal, State, and Local laws and ordinances on landlord/tenant rights and individual rights to privacy, as-applicable.
Protection of data (IP, financial)
Outsider attacks (e.g. ransomware)
Business interruption / degradation
Compliance with Federal and Defense regulations on Federal real estate assets, as-applicable.
Protection of brand value
Promote Concept & Obtain Commitment Decisions NLT March 2020

## Slide 68: Assess and Issue a Cyber Performance Rating for Facility’s BMS
Based on consolidation of standards already in public domain
Dynamic – the threat is always evolving
Dynamic- the program for the response is always evolving
  Incentivizes sustainment of good cyber practices over life cycle
  Dynamic- rating requires periodic recertification to sustain these good cyber practices
Assessment addresses protections for technology, processes, and people
Rating public or private to tenants – Owner discretion
Good Better Best
Bronze
Silver
Platinum
Gold
Most
Secure
Least
Secure

## Slide 69: Performance Model Comparison
BRONZE
SILVER
GOLD
PLATINUM
Basic Cyber Hygiene
Intermediate Cyber Hygiene
Good Cyber Hygiene
Proactive Cyber Hygiene
Advanced / Progressive / State of the Art
Maturity Level 1
Maturity Level 2
Maturity Level 3
Maturity Level 4
Maturity Indicator Level 0
Maturity Indicator Level 1
Maturity Indicator Level 2
Maturity Indicator Level 3
DoE Cybersecurity Capability Maturity Model (C2M2)
DoD Cybersecurity Maturity Model Certification (CMMC)
ISA/IEC 62443
Proposed For BMS Certification

## Slide 70
Bronze Level Proposed
Cybersecurity Requirements Definition | 
Operations Maturity Level | ISA/IEC 62443-2-1 – Maturity Level 1
Maintenance Maturity Level | ISA/IEC 62443-2-4 – Maturity Level 1
Automation Security Zone | ISA/IEC 62443-3-3 – Security Level 1
Critical Security Zone | ISA/IEC 62443-3-3 – Security Level 2
Security Level 1 Requirements - High Level Summary | 
Identification and Authentication Control | User identification and authentication
Use Control | User authorization enforcement
System Integrity | Communications integrity, Malware protection
Data Confidentiality | Information confidentiality at rest
Restricted Data Flow | Network segmentation
Timely Response to Events | Audit log accessibility
Resource Availability | Denial of Service protection, Backup
CMMC Int Capabilities* # of Practices
*NIST, ISO, RMM KIM-SG4, CIS, etc
Practices defined as of CMMC v.6 11/19.
Access Control
Asset Management
Audit & Accountability
Awareness & Training
Configuration Management
ID & Authorization
Incident Response
Maintenance
Media Protection
Personnel Security
Physical Protection
Recovery
Risk Management
Security Assessment
Situational Awareness
System & Comm. Protection
System & Info. Integrity
4
-
-
-
-
2
-
-
1
-
4
-
-
-
-
2
4

## Slide 71
Silver Level Proposed
Cybersecurity Requirements Definition | 
Operations Maturity Level | ISA/IEC 62443-2-1 – Maturity Level 2
Maintenance Maturity Level | ISA/IEC 62443-2-4 – Maturity Level 2
Automation Security Zone | ISA/IEC 62443-3-3 – Security Level 2
Critical Security Zone | ISA/IEC 62443-3-3 – Security Level 3
Security Level 2 Requirements - High Level Summary | 
Identification and Authentication Control | Unique user identification and authentication
Use Control | Enforcement + Role Based Access Control
System Integrity | Communications integrity, Entry/Exit malware protection
Data Confidentiality | Information confidentiality at rest or in transit
Restricted Data Flow | Physical network segmentation
Timely Response to Events | Audit log accessibility, Continuous monitoring
Resource Availability | DoS protection, Backup verification, Inventory
CMMC Good Capabilities* Add’l Practices
Access Control
Asset Management
Audit & Accountability
Awareness & Training
Configuration Management
ID & Authorization
Incident Response
Maintenance
Media Protection
Personnel Security
Physical Protection
Recovery
Risk Management
Security Assessment
Situational Awareness
System & Comm. Protection
System & Info. Integrity
12
--
4
2
6
5
5
4
3
2
1
2
3
3
1
3
2
*NIST, ISO, RMM KIM-SG4, CIS, etc
Practices defined as of CMMC v.6 11/19.

## Slide 72
Gold Level Proposed
Cybersecurity Requirements Definition | 
Operations Maturity Level | ISA/IEC 62443-2-1 – Maturity Level 3
Maintenance Maturity Level | ISA/IEC 62443-2-4 – Maturity Level 3
Automation Security Zone | ISA/IEC 62443-3-3 – Security Level 3
Critical Security Zone | ISA/IEC 62443-3-3 – Security Level 4
Security Level 3 Requirements - High Level Summary | 
Identification and Authentication Control | Multifactor user identification and authentication
Use Control | Enforcement + RBAC + Supervisor Override
System Integrity | Cryptographic integrity, Centralized malware protection
Data Confidentiality | Information confidentiality at rest or in transit
Restricted Data Flow | Independence from non-control networks
Timely Response to Events | Audit log accessibility, Continuous monitoring
Resource Availability | DoS protection, Backup automation, Inventory
CMMC Pro Control Capabilities* Add’lPractices
Access Control
Asset Management
Audit & Accountability
Awareness & Training
Configuration Management
ID & Authorization
Incident Response
Maintenance
Media Protection
Personnel Security
Physical Protection
Recovery
Risk Management
Security Assessment
Situational Awareness
System & Comm. Protection
System & Info. Integrity
5
2
7
1
3
4
2
2
4
-
1
1
3
2
1
14
3
*NIST, ISO, RMM KIM-SG4, CIS, etc
Practices defined as of CMMC v.6 11/19.

## Slide 73
Platinum Level Proposed
Cybersecurity Requirements Definition | 
Operations Maturity Level | ISA/IEC 62443-2-1 – Maturity Level 4
Maintenance Maturity Level | ISA/IEC 62443-2-4 – Maturity Level 4
Automation Security Zone | ISA/IEC 62443-3-3 – Security Level 4
Critical Security Zone | ISA/IEC 62443-3-3 – Security Level 4
Security Level 4 Requirements - High Level Summary | 
Identification and Authentication Control | Multifactor user identification and authentication
Use Control | Enforcement + RBAC + Override + Dual approval
System Integrity | Cryptographic integrity, Centralized malware protection
Data Confidentiality | Information confidentiality across zones
Restricted Data Flow | Logical and physical isolation of critical networks
Timely Response to Events | Audit log accessibility, Continuous monitoring
Resource Availability | DoS protection, Backup automation, Inventory
CMMC Adv Control Family* Add’lPractices
Access Control
Asset Management
Audit & Accountability
Awareness & Training
Configuration Management
ID & Authorization
Incident Response
Maintenance
Media Protection
Personnel Security
Physical Protection
Recovery
Risk Management
Security Assessment
Situational Awareness
System & Comm. Protection
System & Info. Integrity
Not Yet Defined
“
“
“
“
“
“
“
“
“
“
“
“
“
“
“
“
*NIST, ISO, RMM KIM-SG4, CIS, etc
Practices defined as of CMMC v.6 11/19.

## Slide 74
Our Assessment of Value
Meet global and U.S. security requirements using a single, unified certification
Simplifies procurement specification process (establish corporate standards) for technology and cyber protection services
All stakeholders (including insurers) can easily understand standards-based cybersecurity capabilities
Capabilities independently validated by external entity
Confidence that protections will be upgraded over time based on evolving risk
Easily adopted into public policy

## Slide 75: Next Steps
Establishment of an entity to serve as the keeper of the program and certification agency
Invite stakeholders to develop certification program for commercial properties
Continued development of Program for other facility types
Strategic Communication on the growing threat and proposed response
Potential adoption of program for “smart” products (cars, media, homes, appliances)
Next Steps

## Slide 76
Action Timeline
Jan ‘20
Asset Owner Meeting
Feb ‘20
Certification body designated
Funding documents drafted
Apr ‘20
Update to ICS JWG
Initiate body

## Slide 77: 8. Announcements Ron Zimmer (CABA)
CoRETECH 2109, Nov 13-15, San Jose, CA
Greenbuild International Conference and Expo 2019, Nov 19-22, Atlanta, GA
CABA AGM, Dec 5, 11am ET via Webinar
AHR Expo, Feb 3-5, Orlando, FL
DISTRIBUTECH International 2020, Feb 9-11, San Diego, CA
8.1 Past Event Overview:

## Slide 78: 8. Announcements Ron Zimmer (CABA)
Light+building, Mar 8-13, Frankfurt, Germany
Internet of Things World, Apr 6-9, San Jose, CA
Niagara Summit: Connecting the World, Apr 19-21, San Diego, CA
BuildingsNY, Apr 28-29, New York, NY
8.2 Upcoming events:

## Slide 79: 9. Adjournment Trevor Nightingale (National Research Council)
Continental Automated Buildings Association (CABA) caba@caba.org www.CABA.org
www.caba.org/ibc
Connect to what’s next™
Next IBC Meeting, April 2020