## Slide 1: Intelligent Buildings Council (IBC)
Chair: Trevor Nightingale (National Research Council)
Vice-Chair: Harsha Chandrashekar (Honeywell International Inc)
Vice-Chair: Robert Lane (Robert H. Lane and Associates Inc.)
Vice-Chair: Bob Allan (The Siemon Company)
Vice-Chair: Terrence DeFranco (Iota Communications, Inc.)

## Slide 2: 1. Agenda Greg Walker (CABA)
1. Agenda
2. Call to Order, Welcome, Introductions, about IBC
3. Administrative
“Smart Buildings: BEMS, EMIS, FDD, M&V, DCV and COVID” (30 min)
Guy Newsham (National Research Council)
5. Research Update
6. White Paper Sub-Committee Update
7. New Business
8. Adjournment

## Slide 3: 2. Call to Order, Welcome, Introductions, About the IBC Bob Allan (The Siemon Company)
The CABA Intelligent Buildings Council works to strengthen the large building automation industry through innovative technology-driven research projects. The Council was established in 2001 by CABA to specifically review opportunities, take strategic action and monitor initiatives that relate to integrated systems and automation in the large building sector. The Council's projects promote the next generation of intelligent building technologies and incorporates a holistic approach that optimizes building performance and savings.
www.caba.org/ibc
IBC Chair
Trevor Nightingale
Director General
National Research Council
IBC Vice-Chair
Bob Allan
Global Business Development Manager, Intelligent Buildings
The Siemon Company
IBC Vice-Chair
Robert Lane
President & Managing Partner
Robert H. Lane and Associates Inc.
IBC Vice-Chair
Harsha Chandrashekar
Product Approvals & Regulatory Leader
Honeywell International
Inc
IBC Vice-Chair
Terrence DeFranco
President and Chief Financial Officer
Iota Communications, Inc.

## Slide 4: 3. Administrative Bob Allan (The Siemon Company)
3.1 Motion to approve past IBC Minutes (May 13): www.caba.org/ibc
Motion to approve was made by:
- Ken Wacks (Ken Wacks Associates)
Motion was seconded by:
- Michael Levy (Harbor Research)

## Slide 5
“Smart Buildings: BEMS, EMIS, FDD, M&V, DCV and COVID” (30 min)
4. Keynote Terrence DeFranco (Iota Communications, Inc.)

## Slide 6: Smart Buildings: BEMS, EMIS, FDD, M&V, DCV and COVID
Guy Newsham, PhD
Team Lead, Building Technology Optimization
NRC-Constrution

## Slide 7: GoC Smart Buildings
What is a BEMS?
Started as a one-building pilot (Building J) with PSPC in 2014 …
Now working with:
      ~100 PSPC buildings (implemented by a NMSO)
      Multiple DND bases
      CNL campus
  7.5% annual energy savings with 1-2 yr payback

## Slide 8: PSPC EMIS
8
Remote Auditing
Building J

## Slide 9: The M&V Challenge
Energy Use
Time
Implementation date
Weather effects
Transition
period?
Additional ECM(s)?
In addition …
Operator behaviour
Changes in occupancy
Changes in tenants/use
Data quality
Baseline period
Reporting period

## Slide 10: M&V Methodology
Baseline period
Reporting period
Read data
Apply exclusions
Define baseline and reporting periods
Create baseline regression model
Compute savings
Visualize and report
where:
y is chilled water consumption in MJ
HDD is heating degree days, base temp. 18°C
CDD is cooling degree days, base temp. 18°C
WD is the number of working days in the month
(Building J)

## Slide 11: Energy Savings
Energy Savings (MWh) | Cost Savings ($)
> 29,000 | > $3.8M
Savings to Date:
A B C D E F G H I J K L M N O P Q R S T U V W X Y Z AA BB CCDD EE

## Slide 12: Payback
(Building J)

## Slide 13: Additional Analytics
>20 Research papers
Data cleaning
BAS point detection
Energy forecasting
Anomaly detection
Faulty heater valves?

## Slide 14: BAS-Lite

## Slide 15: Occupancy counts
Original use case: DCV
10% heating savings, 38% cooling savings
New use case: COVID
Real-time monitoring of 20-50% occupancy targets

## Slide 16: THANK YOU guy.newsham@nrc-cnrc.gc.ca

## Slide 17: 4. Keynote - Questions? Terrence DeFranco (Iota Communications, Inc.)

## Slide 18: 5. Research Update Greg Walker (CABA)
www.caba.org/research
5.1 2019-2020 IBC Landmark Research “Intelligent Buildings and COVID-19”

## Slide 19: 5. Research Update Michael Levy (Harbor Research, Inc.)
5.2 2020 IBC Landmark Research “Intelligent Building Energy Management Systems”
www.caba.org/research

## Slide 20: 5. Research Update Ron Zimmer (CABA)
5.3 Potential New IBC Research “BACS”

## Slide 21: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.1 Recently Completed:
“The Evolution of Integrating LiFi Technology into Smart Lighting and Control Systems for the Intelligent Building”
Wharton County Junior College (Chair)
Acuity Brands, Inc.
ArcoLogix LLC
Control4
National Electrical Manufacturers Association
Telecommunications Industry Association (TIA)
www.caba.org/WhitePapers

## Slide 22: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“Multi-MHz Wireless Power Transfer and Its Commercial Applications”
Airfuel Alliance (Chair)
University of Michigan - Shanghai Jiao Tong University Joint Institute
Princeton University
www.caba.org/WhitePapers

## Slide 23: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
Part 2: “Impacts of Automated Shading in Building Projects”
TRC Energy Services (Chair)
Axis Lighting Inc.
Draper, Inc.
Ecotay Inc.
Ken Wacks Associates
Lawrence Berkeley National Laboratory (LBNL)
Lutron Electronics Co., Inc.
Mecho
NYSERDA (New York State Energy Research and Development Authority)
PLC-Multipoint, Inc.
Screen Innovations
Somfy Systems, Inc.
Sustainable Resources Management Inc.
Vistar Energy Consulting
Window Products Management
www.caba.org/WhitePapers

## Slide 24: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“Fire Alarm Systems in Buildings”
Canadian Fire Alarm Association
www.caba.org/WhitePapers

## Slide 25: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
6.2 In Progress:
“Part 2: The Evolution of Integrating LiFi Technology into Smart Lighting and Control Systems for the Intelligent Building”
Wharton County Junior College
Acuity Brands, Inc.
ArcoLogix LLC
SnapAV
SnapAV
Ken Wacks Associates
National Electrical Manufacturers Association
Telecommunications Industry Association (TIA)
www.caba.org/WhitePapers

## Slide 26: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
All proposals and previously completed IBC White Papers can be downloaded at:
www.caba.org/whitepapers

## Slide 27: 7. New Business Robert Lane (Robert H. Lane and Associates Inc.)
7.1 Other new IBC business?

## Slide 28: 8. Adjournment Bob Allan (The Siemon Company)
Continental Automated Buildings Association (CABA) caba@caba.org www.CABA.org
www.caba.org/ibc
Connect to what’s next™
Next IBC Meeting, November 2020