## Slide 1: Intelligent Buildings Council (IBC) Webinar Meeting will commence 12:05pm ET Tuesday, August 9, 2022, 12 NOON – 1:30 PM (ET)
IBC Chair: Bob Allan (NAVCO, Inc.)
Vice-Chair: Harsha Chandrashekar (Honeywell International Inc)
Vice-Chair: Robert Lane (Robert H. Lane and Associates Inc.)

## Slide 2: 1. Agenda Greg Walker (CABA)
Agenda
Call to Order, Welcome, Introductions, About IBC
Administrative
Research Update
Keynote: “Integration pitfalls while embedding IoT platforms and technologies into the enterprise IT landscape” (30 min) Victor Kmita (XME.digital)
White Paper Sub-Committee Update
New Business
Announcements
Adjournment

## Slide 3: 2. Call to Order, Welcome, Introductions, About the IBC Bob Allan (NAVCO, Inc.)
The CABA Intelligent Buildings Council works to strengthen the large building automation industry through innovative technology-driven research projects. The Council was established in 2001 by CABA to specifically review opportunities, take strategic action and monitor initiatives that relate to integrated systems and automation in the large building sector. The Council's projects promote the next generation of intelligent building technologies and incorporates a holistic approach that optimizes building performance and savings. www.caba.org/ibc
IBC Chair
Bob Allan
Bob Allan
Vice President of Sales
East Region
NAVCO, Inc.
IBC Vice-Chair
Robert Lane
President & Managing Partner
Robert H. Lane and Associates Inc.
IBC Vice-Chair
Harsha Chandrashekar
Product Approvals & Regulatory Leader
Honeywell International Inc

## Slide 4: 3. Administrative Bob Allan (NAVCO, Inc.)
Motion to approve past IBC Minutes May 12, 2022
www.caba.org/ibc

## Slide 5: 4. Research Update Robert Lane (Robert H. Lane and Associates Inc.)
4.1 2022 IBC Landmark Research
Healthy Buildings and Indoor Environmental Quality

## Slide 6: 4. Research Update Greg Walker (CABA)
4.2 Annual BACS Market Sizing North America

## Slide 7
Integration pitfalls while embedding IoT platforms and technologies into the enterprise IT landscape
5. Keynote Harsha Chandrashekar (Honeywell International, Inc.)

## Slide 8
XME.digital
solutions shop
Discover More
Integration pitfalls:
embedding IoT platforms and technologies into the enterprise IT landscape
Victor Kmita, CEO XME.digital
Presented for CABA Intelligent Buildings Council
09.08.22
www.xme.digital
Notes: VK intro 1 min DS intro 1 min

## Slide 9
Enterprise IT integrations today
XME.digital
www.xme.digital

## Slide 10
Enterprise IT Landscape today
XME.digital transformation solutions
XME.digital
www.xme.digital
“Companies now use an average of 976 applications, which is by 133 apps more than a year ago. Only 28% of these are integrated.”
Deloitte Digital mentioned in “Connectivity benchmark report 2022”
Notes: VK: “Quarter of … companies may lose over $500K per year because of poor business process integration
THE 2022 STATE OF ECOSYSTEM & APPLICATION INTEGRATION REPORT
due to outdated integration systems and poor business-process integration”.
DS: 1 min comment
Example of 10 years within brand new organization
For example, only 51% of companies have complete end-to-end transaction visibility, meaning half of all businesses don’t really know what’s happening at key integration points across their business processes.

## Slide 11
IT landscape complexity grows.
Number of dependencies rises.
XME.digital
www.xme.digital
Notes: VK: “We have to overcome the growing mess”

## Slide 12
IoT platforms in 2022
XME.digital transformation solutions
XME.digital
www.xme.digital
Notes: 900 apps …
Low code development protforms amonth these

## Slide 13
Digital Twin enabled (BMS, various IoT App, data+. IBIM, Predictive Analytics)
Increased operational efficiency, min cost benefits
Higher revenue & cost benefit from operational efficiency
Real-time intelligent decision making, deeper focus on tenant experience
XME.digital transformation solutions
Partial IoT + Multiple BMS/BAS
Remote intervention
Scheduled maintenance based on demand or predictive analytics
Delivered building services through demand
Automation of emergency activities
HVAC
HVAC maintenance
Lighting control
Fire detection
Security control
Video Surveillance
On-site technical service
Home Automation
Home Automation
Home Automation
IoT sensors for HVAC & more
Energy & Water meters
Connected lighting & Occupancy sensing
Remote control & automation
24/7 monitoring & surveillance
Emergency alarm systems
Smart Home
Connected Home
Ubiquitous Home
Internet
Internet
Ambient Intelligence
Single BMS (unoccupied)
Building Management Automation are evolving
Traditional
XME.digital
www.xme.digital
Notes: “Growing complexity in Building A” https://www.enertiv.com/

## Slide 14
How to
XME.digital
www.xme.digital
Provide seamless integration with the core manufacturing & security systems
Monetizing the updating & configuration procedure
New digital services - updates-as-a-services development & delivery
Building a distributor-client hierarchy to control software updates, features and services
…..
Notes: “Problems and opportunities to be resolve”

## Slide 15
How to make old school and new school living happily forever and ever after?
XME.digital
www.xme.digital

## Slide 16
Integration’s strategies
API-led
ESB
Middleware
Manual
Singe dashboard via low code platform
XME.digital
www.xme.digital
Notes: https://www.safe.com/blog/2022/01/7-emerging-data-enterprise-integration-trends-2022/
https://zigiwave.com/top-integration-challenges/

## Slide 17
🚩 Technological Complexity
🚩 Security Risks
🚩 Employee Reluctance to Integrate
🚩 Cost and Time Consumption
🚩 Multiple Systems
XME.digital
www.xme.digital
API-led integrations red flags
Notes: https://www.safe.com/blog/2022/01/7-emerging-data-enterprise-integration-trends-2022/
https://zigiwave.com/top-integration-challenges/

## Slide 18
🚩 Possible bottleneck while scaling via single point access nature
🚩 Response delay in case of complicated IT landscape
🚩 Interoperability
🚩 Point of whole infrastructure failure
XME.digital
www.xme.digital
ESB integrations red flags
Notes: https://www.safe.com/blog/2022/01/7-emerging-data-enterprise-integration-trends-2022/
https://zigiwave.com/top-integration-challenges/

## Slide 19
🚩 Scalability
🚩 Interoperability
🚩 Abstract provisioning
🚩 Spontaneous interactions
🚩 Unfixed Infrastructure
🚩 Multiplicity
🚩 Security & Privacy
XME.digital
www.xme.digital
Middleware integrations red flags
Notes: https://www.researchgate.net/publication/261024274_Challenges_in_middleware_solutions_for_the_internet_of_things

## Slide 20
🚩 Lack of data transfer for decision making
🚩 Scalability bottleneck
🚩 Time consuming
🚩 Complicated onboarding process
XME.digital
www.xme.digital
Manual integrations red flags

## Slide 21
🚩 Software Architecture management
🚩 UX / UI from scratch
🚩 Flexibility & Customization
🚩 Specific skill set
XME.digital
www.xme.digital
Single dashboard with low-code platform red flags

## Slide 22
Property Manager
User interaction with BMS
XME.digital transformation solutions
XME.digital
Case-specific flows
Fast-coding
Configurable workspaces and dashboards
XME.digital
Implementation from sensors replacement to real-time alert analysis
New revenue stream
Service catalog
Monetization
Billing
+ Customer Management
+ Interactions for service providers
Customer Journey
Real user scenarios
Omnichannel communication:
  Chatbots
  Apps
  Push notifications
Primary Services
Basic Services
Supplementary Services
Own
Partners
Vendors
Property Management Systems
ERP
BMS
Operational Tools
XME makes it possible to combine cloud and on-premise systems into solid flows, integrate third-party apps and expose secured integration API for any kind of integration.
XME enables possibility to boost your revenue stream and to powers-up the customer journey
Cloud Apps & Services
AI
Analytics
Marketing
Notes: Dough message There should be a slide explaining how XME position itself among BMS and other components of Smart Buildings ecosystem. Story behind:
The first it is users or occupants of a smart building. Modern BMS naturally expect some interaction with users, based on BMS available functionality. However with XME we enable conversion of these basic functions into well-designed customer journey based on real user scenarios and omnichannel communication, including chatbots, apps and push notifications.
Having commercial relationship in mind, the Property Manager willing not only to offer basic services, but willing to extend it to full variety of primary and supplementary services, own and partner offers and naturally enable new revenue streams inside and around core business. XME reveals these opportunities having service catalog, monetization and billing capabilities. Not even saying about doing all customer management and interactions required for careful service provider.
Same story comes for building internal organization processes, connecting BMS, ERP, operational tools and occupants of these buildings. XME offer the way to implement these, usually case-specific flows by it’s fast-coding capabilities and configurable workspaces and dashboards. It covers cases from sensor replacement to real-time alert analysis and conditional escalation.
XME makes it possible to combine cloud and on-premise systems into solid flows, integrate third-party apps and expose secured integration API for any kind of integration.

## Slide 23
Canada
5 Hillholm Rd
Unit 2, M5P1M1
Toronto, Ontario
Poland
45A Kolejowa Street, 01-210
Warsaw
Ukraine
Kyiv
Chernihiv
Zhytomir
Victor Kmita
CEO XME.digital victor.kmita@xme.digital
www.xme.digital
Linkedin: XME.digital solutions
Cyprus
14 Odos Nikolaou Nikolaidi, 8010
Paphos
XME.digital - low-code platform for integrations and digital solutions

## Slide 24
THANK YOU!
Questions?

## Slide 25: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
In Progress:
“Fire Alarm Systems in Buildings”
Canadian Fire Alarm Association (Chair)
AML Encore Corp./Canadian Fire Alarm Association
exp. US Services, Inc.
Honeywell International, Inc.

## Slide 26: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
In Progress:
“OT Cybersecurity as applied to Building Automation Systems for Critical Systems”
Mission Critical Global Alliance (MCGA) (Chair)

## Slide 27: 6. White Paper Sub-Committee Update Ken Wacks (Ken Wacks Associates)
All proposals and previously completed IBC White Papers can be downloaded at:
www.caba.org/whitepapers

## Slide 28: 7. New Business Bob Allan (NAVCO, Inc.)
Other new IBC business?

## Slide 29: 8. Announcements Robert Lane (Robert H. Lane and Associates Inc.)
8.1 Past Events Overview
Distributech International
May 23-25, 2022
Dallas, TX
IFMA World Workplace Europe
June 1-2, 2022
Amsterdam, Netherlands
Realcomm | IBcon
June 15-16, 2022
Orlando, FL
Lightfair
June 19-23, 2022
Las Vegas, NV

## Slide 30: 8. Announcements Robert Lane (Robert H. Lane and Associates Inc.)
8.2 Upcoming Events
2022 IES Annual Conference
August 18-20, 2022 New Orleans, LA
Shanghai Intelligent Building Technology August 31 – September 2, 2022 Shanghai, China
BuildingsNY
September 14-15, 2022
New York, NY
Cable-Tec Expo 22 September 19-22, 2022
Philadelphia, PA
BICSI Fall Conference & Exhibition September 25-29, 2022 Las Vegas, NV
IFMA’s World Workplace
September 28-30, 2022
Nashville, TN
Light+Buildings
October 2-6, 2022
Frankfurt, Germany
CRE Tech New York
October 12-13, 2022
New York, NY
Greenbuild International Conference and Expo
November 1-3, 2022
San Francisco, CA
ISA Automation & Leadership Conference
November 7-9, 2022
Galveston, TX

## Slide 31: 9. Adjournment Bob Allan (NAVCO, Inc.)
Continental Automated Buildings Association (CABA) caba@caba.org www.CABA.org
www.caba.org/ibc
Connect to what’s next™
Next IBC Meeting: Thursday, November 10, 2022